{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Лист1","Лист2","Лист3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Лист1","index":0,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Лист2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Лист3","index":2,"n_rows":766,"n_cols":24,"rows_kept":766,"cut":false,"hidden":false,"merged":[[762,5,763,5],[764,0,765,0],[764,2,765,2],[764,3,765,3],[764,4,765,4],[764,5,765,5],[762,0,763,0],[762,2,763,2],[762,3,763,3],[762,4,763,4],[758,5,759,5],[758,6,759,6],[760,0,761,0],[760,2,761,2],[760,3,761,3],[760,4,761,4],[760,5,761,5],[758,0,759,0],[758,2,759,2],[758,3,759,3],[758,4,759,4],[754,5,755,5],[754,6,755,6],[756,0,757,0],[756,2,757,2],[756,3,757,3],[756,4,757,4],[756,5,757,5],[756,6,757,6],[754,0,755,0],[754,2,755,2],[754,3,755,3],[754,4,755,4],[750,5,751,5],[750,6,751,6],[752,0,753,0],[752,2,753,2],[752,3,753,3],[752,4,753,4],[752,5,753,5],[752,6,753,6],[750,0,751,0],[750,2,751,2],[750,3,751,3],[750,4,751,4],[746,5,747,5],[746,6,747,6],[748,0,749,0],[748,2,749,2],[748,3,749,3],[748,4,749,4],[748,5,749,5],[748,6,749,6],[746,0,747,0],[746,2,747,2],[746,3,747,3],[746,4,747,4],[742,4,743,4],[742,5,743,5],[742,6,743,6],[744,0,745,0],[744,2,745,2],[744,3,745,3],[744,4,745,4],[744,5,745,5],[744,6,745,6],[742,0,743,0],[742,1,743,1],[742,2,743,2],[742,3,743,3],[738,6,739,6],[740,0,741,0],[740,1,741,1],[740,2,741,2],[740,3,741,3],[740,4,741,4],[740,5,741,5],[740,6,741,6],[736,4,737,4],[736,5,737,5],[738,0,739,0],[738,1,739,1],[738,2,739,2],[738,3,739,3],[738,4,739,4],[738,5,739,5],[736,0,737,0],[736,1,737,1],[736,2,737,2],[736,3,737,3],[732,4,733,4],[732,5,733,5],[732,6,733,6],[734,0,735,0],[734,1,735,1],[734,2,735,2],[734,3,735,3],[734,4,735,4],[734,5,735,5],[732,0,733,0],[732,1,733,1],[732,2,733,2],[732,3,733,3],[728,4,729,4],[728,5,729,5],[730,0,731,0],[730,1,731,1],[730,2,731,2],[730,3,731,3],[730,4,731,4],[730,5,731,5],[728,0,729,0],[728,1,729,1],[728,2,729,2],[728,3,729,3],[724,4,725,4],[724,5,725,5],[726,0,727,0],[726,1,727,1],[726,2,727,2],[726,3,727,3],[726,4,727,4],[726,5,727,5],[724,0,725,0],[724,1,725,1],[724,2,725,2],[724,3,725,3],[720,4,721,4],[720,5,721,5],[720,6,721,6],[722,0,723,0],[722,1,723,1],[722,2,723,2],[722,3,723,3],[722,4,723,4],[722,5,723,5],[722,6,723,6],[720,0,721,0],[720,1,721,1],[720,2,721,2],[720,3,721,3],[717,0,717,23],[718,0,719,0],[718,1,719,1],[718,2,719,2],[718,3,719,3],[718,4,718,5],[718,6,719,6],[718,7,719,7],[718,8,718,19],[712,4,713,4],[712,5,713,5],[712,6,713,6],[716,0,716,23],[712,0,713,0],[712,1,713,1],[712,2,713,2],[712,3,713,3],[708,4,709,4],[708,5,709,5],[708,6,709,6],[710,0,711,0],[710,1,711,1],[710,2,711,2],[710,3,711,3],[710,4,711,4],[710,5,711,5],[710,6,711,6],[708,0,709,0],[708,1,709,1],[708,2,709,2],[708,3,709,3],[704,4,705,4],[704,5,705,5],[704,6,705,6],[706,0,707,0],[706,1,707,1],[706,2,707,2],[706,3,707,3],[706,4,707,4],[706,5,707,5],[706,6,707,6],[704,0,705,0],[704,1,705,1],[704,2,705,2],[704,3,705,3],[700,4,701,4],[700,5,701,5],[700,6,701,6],[702,0,703,0],[702,1,703,1],[702,2,703,2],[702,3,703,3],[702,4,703,4],[702,5,703,5],[702,6,703,6],[700,0,701,0],[700,1,701,1],[700,2,701,2],[700,3,701,3],[696,4,697,4],[696,5,697,5],[696,6,697,6],[698,0,699,0],[698,1,699,1],[698,2,699,2],[698,3,699,3],[698,4,699,4],[698,5,699,5],[698,6,699,6],[696,0,697,0],[696,1,697,1],[696,2,697,2],[696,3,697,3],[692,4,693,4],[692,5,693,5],[692,6,693,6],[694,0,695,0],[694,1,695,1],[694,2,695,2],[694,3,695,3],[694,4,695,4],[694,5,695,5],[694,6,695,6],[692,0,693,0],[692,1,693,1],[692,2,693,2],[692,3,693,3],[688,4,689,4],[688,5,689,5],[688,6,689,6],[690,0,691,0],[690,1,691,1],[690,2,691,2],[690,3,691,3],[690,4,691,4],[690,5,691,5],[690,6,691,6],[688,0,689,0],[688,1,689,1],[688,2,689,2],[688,3,689,3],[684,4,685,4],[684,5,685,5],[684,6,685,6],[686,0,687,0],[686,1,687,1],[686,2,687,2],[686,3,687,3],[686,4,687,4],[686,5,687,5],[686,6,687,6],[684,0,685,0],[684,1,685,1],[684,2,685,2],[684,3,685,3],[680,4,681,4],[680,5,681,5],[680,6,681,6],[682,0,683,0],[682,1,683,1],[682,2,683,2],[682,3,683,3],[682,4,683,4],[682,5,683,5],[682,6,683,6],[680,0,681,0],[680,1,681,1],[680,2,681,2],[680,3,681,3],[676,4,677,4],[676,5,677,5],[676,6,677,6],[678,0,679,0],[678,1,679,1],[678,2,679,2],[678,3,679,3],[678,4,679,4],[678,5,679,5],[678,6,679,6],[676,0,677,0],[676,1,677,1],[676,2,677,2],[676,3,677,3],[672,4,673,4],[672,5,673,5],[672,6,673,6],[674,0,675,0],[674,1,675,1],[674,2,675,2],[674,3,675,3],[674,4,675,4],[674,5,675,5],[674,6,675,6],[672,0,673,0],[672,1,673,1],[672,2,673,2],[672,3,673,3],[668,4,669,4],[668,5,669,5],[668,6,669,6],[670,0,671,0],[670,1,671,1],[670,2,671,2],[670,3,671,3],[670,4,671,4],[670,5,671,5],[670,6,671,6],[668,0,669,0],[668,1,669,1],[668,2,669,2],[668,3,669,3],[665,0,665,23],[666,0,667,0],[666,1,667,1],[666,2,667,2],[666,3,667,3],[666,4,666,5],[666,6,667,6],[666,7,667,7],[666,8,666,19],[661,4,662,4],[661,5,662,5],[661,6,662,6],[664,0,664,23],[661,0,662,0],[661,1,662,1],[661,2,662,2],[661,3,662,3],[657,4,658,4],[657,5,658,5],[657,6,658,6],[659,0,660,0],[659,1,660,1],[659,2,660,2],[659,3,660,3],[659,4,660,4],[659,5,660,5],[659,6,660,6],[657,0,658,0],[657,1,658,1],[657,2,658,2],[657,3,658,3],[653,4,654,4],[653,5,654,5],[653,6,654,6],[655,0,656,0],[655,1,656,1],[655,2,656,2],[655,3,656,3],[655,4,656,4],[655,5,656,5],[655,6,656,6],[653,0,654,0],[653,1,654,1],[653,2,654,2],[653,3,654,3],[649,4,650,4],[649,5,650,5],[649,6,650,6],[651,0,652,0],[651,1,652,1],[651,2,652,2],[651,3,652,3],[651,4,652,4],[651,5,652,5],[651,6,652,6],[649,0,650,0],[649,1,650,1],[649,2,650,2],[649,3,650,3],[645,4,646,4],[645,5,646,5],[645,6,646,6],[647,0,648,0],[647,1,648,1],[647,2,648,2],[647,3,648,3],[647,4,648,4],[647,5,648,5],[647,6,648,6],[645,0,646,0],[645,1,646,1],[645,2,646,2],[645,3,646,3],[641,4,642,4],[641,5,642,5],[641,6,642,6],[643,0,644,0],[643,1,644,1],[643,2,644,2],[643,3,644,3],[643,4,644,4],[643,5,644,5],[643,6,644,6],[641,0,642,0],[641,1,642,1],[641,2,642,2],[641,3,642,3],[637,4,638,4],[637,5,638,5],[637,6,638,6],[639,0,640,0],[639,1,640,1],[639,2,640,2],[639,3,640,3],[639,4,640,4],[639,5,640,5],[639,6,640,6],[637,0,638,0],[637,1,638,1],[637,2,638,2],[637,3,638,3],[633,5,634,5],[633,6,634,6],[635,0,636,0],[635,1,636,1],[635,2,636,2],[635,3,636,3],[635,4,636,4],[635,5,636,5],[635,6,636,6],[633,0,634,0],[633,2,634,2],[633,3,634,3],[633,4,634,4],[629,4,630,4],[629,5,630,5],[629,6,630,6],[631,0,632,0],[631,1,632,1],[631,2,632,2],[631,3,632,3],[631,4,632,4],[631,5,632,5],[631,6,632,6],[629,0,630,0],[629,1,630,1],[629,2,630,2],[629,3,630,3],[625,4,626,4],[625,5,626,5],[625,6,626,6],[627,0,628,0],[627,1,628,1],[627,2,628,2],[627,3,628,3],[627,4,628,4],[627,5,628,5],[627,6,628,6],[625,0,626,0],[625,1,626,1],[625,2,626,2],[625,3,626,3],[621,4,622,4],[621,5,622,5],[621,6,622,6],[623,0,624,0],[623,1,624,1],[623,2,624,2],[623,3,624,3],[623,4,624,4],[623,5,624,5],[623,6,624,6],[621,0,622,0],[621,1,622,1],[621,2,622,2],[621,3,622,3],[617,4,618,4],[617,5,618,5],[617,6,618,6],[619,0,620,0],[619,1,620,1],[619,2,620,2],[619,3,620,3],[619,4,620,4],[619,5,620,5],[619,6,620,6],[617,0,618,0],[617,1,618,1],[617,2,618,2],[617,3,618,3],[613,0,613,23],[614,0,614,23],[615,0,616,0],[615,1,616,1],[615,2,616,2],[615,3,616,3],[615,4,615,5],[615,6,616,6],[615,7,616,7],[615,8,615,19],[609,5,610,5],[611,0,612,0],[611,2,612,2],[611,3,612,3],[611,4,612,4],[611,5,612,5],[609,0,610,0],[609,2,610,2],[609,3,610,3],[609,4,610,4],[605,5,606,5],[605,6,606,6],[607,0,608,0],[607,2,608,2],[607,3,608,3],[607,4,608,4],[607,5,608,5],[605,0,606,0],[605,2,606,2],[605,3,606,3],[605,4,606,4],[601,5,602,5],[601,6,602,6],[603,0,604,0],[603,2,604,2],[603,3,604,3],[603,4,604,4],[603,5,604,5],[603,6,604,6],[601,0,602,0],[601,2,602,2],[601,3,602,3],[601,4,602,4],[597,5,598,5],[597,4,598,4],[597,6,598,6],[599,0,600,0],[599,2,600,2],[599,3,600,3],[599,4,600,4],[599,5,600,5],[599,6,600,6],[597,0,598,0],[597,2,598,2],[597,3,598,3],[593,6,594,6],[595,0,596,0],[595,2,596,2],[595,3,596,3],[595,4,596,4],[595,5,596,5],[595,6,596,6],[593,0,594,0],[593,2,594,2],[593,3,594,3],[593,4,594,4],[589,4,590,4],[589,5,590,5],[589,3,590,3],[593,5,594,5],[589,6,590,6],[591,0,592,0],[591,2,592,2],[591,3,592,3],[591,4,592,4],[591,5,592,5],[591,6,592,6],[589,0,590,0],[589,1,590,1],[589,2,590,2],[585,6,586,6],[587,0,588,0],[587,1,588,1],[587,2,588,2],[587,3,588,3],[587,4,588,4],[587,5,588,5],[587,6,588,6],[585,4,586,4],[585,5,586,5],[583,0,584,0],[583,1,584,1],[585,0,586,0],[585,1,586,1],[585,2,586,2],[585,3,586,3],[583,2,584,2],[583,3,584,3],[579,4,580,4],[579,5,580,5],[579,3,580,3],[583,4,584,4],[583,5,584,5],[579,6,580,6],[581,0,582,0],[581,1,582,1],[581,2,582,2],[581,3,582,3],[581,4,582,4],[581,5,582,5],[579,0,580,0],[579,1,580,1],[579,2,580,2],[577,4,578,4],[577,5,578,5],[575,0,576,0],[575,1,576,1],[577,0,578,0],[577,1,578,1],[577,2,578,2],[577,3,578,3],[575,2,576,2],[575,3,576,3],[571,4,572,4],[571,5,572,5],[573,4,574,4],[573,5,574,5],[575,4,576,4],[575,5,576,5],[573,0,574,0],[573,1,574,1],[573,2,574,2],[573,3,574,3],[571,0,572,0],[571,1,572,1],[571,2,572,2],[571,3,572,3],[567,4,568,4],[567,5,568,5],[567,6,568,6],[569,0,570,0],[569,1,570,1],[569,2,570,2],[569,3,570,3],[569,4,570,4],[569,5,570,5],[569,6,570,6],[567,0,568,0],[567,1,568,1],[567,2,568,2],[567,3,568,3],[564,0,564,23],[565,0,566,0],[565,1,566,1],[565,2,566,2],[565,3,566,3],[565,4,565,5],[565,6,566,6],[565,7,566,7],[565,8,565,19],[559,4,560,4],[559,5,560,5],[559,6,560,6],[563,0,563,23],[559,0,560,0],[559,1,560,1],[559,2,560,2],[559,3,560,3],[555,4,556,4],[555,5,556,5],[555,6,556,6],[557,0,558,0],[557,1,558,1],[557,2,558,2],[557,3,558,3],[557,4,558,4],[557,5,558,5],[557,6,558,6],[555,0,556,0],[555,1,556,1],[555,2,556,2],[555,3,556,3],[551,4,552,4],[551,5,552,5],[551,6,552,6],[553,0,554,0],[553,1,554,1],[553,2,554,2],[553,3,554,3],[553,4,554,4],[553,5,554,5],[553,6,554,6],[551,0,552,0],[551,1,552,1],[551,2,552,2],[551,3,552,3],[547,4,548,4],[547,5,548,5],[547,6,548,6],[549,0,550,0],[549,1,550,1],[549,2,550,2],[549,3,550,3],[549,4,550,4],[549,5,550,5],[549,6,550,6],[547,0,548,0],[547,1,548,1],[547,2,548,2],[547,3,548,3],[543,4,544,4],[543,5,544,5],[543,6,544,6],[545,0,546,0],[545,1,546,1],[545,2,546,2],[545,3,546,3],[545,4,546,4],[545,5,546,5],[545,6,546,6],[543,0,544,0],[543,1,544,1],[543,2,544,2],[543,3,544,3],[539,4,540,4],[539,5,540,5],[539,6,540,6],[541,0,542,0],[541,1,542,1],[541,2,542,2],[541,3,542,3],[541,4,542,4],[541,5,542,5],[541,6,542,6],[539,0,540,0],[539,1,540,1],[539,2,540,2],[539,3,540,3],[535,4,536,4],[535,5,536,5],[535,6,536,6],[537,0,538,0],[537,1,538,1],[537,2,538,2],[537,3,538,3],[537,4,538,4],[537,5,538,5],[537,6,538,6],[535,0,536,0],[535,1,536,1],[535,2,536,2],[535,3,536,3],[531,4,532,4],[531,5,532,5],[531,6,532,6],[533,0,534,0],[533,1,534,1],[533,2,534,2],[533,3,534,3],[533,4,534,4],[533,5,534,5],[533,6,534,6],[531,0,532,0],[531,1,532,1],[531,2,532,2],[531,3,532,3],[527,4,528,4],[527,5,528,5],[527,6,528,6],[529,0,530,0],[529,1,530,1],[529,2,530,2],[529,3,530,3],[529,4,530,4],[529,5,530,5],[529,6,530,6],[527,0,528,0],[527,1,528,1],[527,2,528,2],[527,3,528,3],[523,4,524,4],[523,5,524,5],[523,6,524,6],[525,0,526,0],[525,1,526,1],[525,2,526,2],[525,3,526,3],[525,4,526,4],[525,5,526,5],[525,6,526,6],[523,0,524,0],[523,1,524,1],[523,2,524,2],[523,3,524,3],[519,4,520,4],[519,5,520,5],[519,6,520,6],[521,0,522,0],[521,1,522,1],[521,2,522,2],[521,3,522,3],[521,4,522,4],[521,5,522,5],[521,6,522,6],[519,0,520,0],[519,1,520,1],[519,2,520,2],[519,3,520,3],[515,4,516,4],[515,5,516,5],[515,6,516,6],[517,0,518,0],[517,1,518,1],[517,2,518,2],[517,3,518,3],[517,4,518,4],[517,5,518,5],[517,6,518,6],[515,0,516,0],[515,1,516,1],[515,2,516,2],[515,3,516,3],[512,0,512,23],[513,0,514,0],[513,1,514,1],[513,2,514,2],[513,3,514,3],[513,4,513,5],[513,6,514,6],[513,7,514,7],[513,8,513,19],[508,4,509,4],[508,5,509,5],[508,6,509,6],[511,0,511,23],[508,0,509,0],[508,1,509,1],[508,2,509,2],[508,3,509,3],[504,4,505,4],[504,5,505,5],[504,6,505,6],[506,0,507,0],[506,1,507,1],[506,2,507,2],[506,3,507,3],[506,4,507,4],[506,5,507,5],[506,6,507,6],[504,0,505,0],[504,1,505,1],[504,2,505,2],[504,3,505,3],[500,4,501,4],[500,5,501,5],[500,6,501,6],[502,0,503,0],[502,1,503,1],[502,2,503,2],[502,3,503,3],[502,4,503,4],[502,5,503,5],[502,6,503,6],[500,0,501,0],[500,1,501,1],[500,2,501,2],[500,3,501,3],[496,4,497,4],[496,5,497,5],[496,6,497,6],[498,0,499,0],[498,1,499,1],[498,2,499,2],[498,3,499,3],[498,4,499,4],[498,5,499,5],[498,6,499,6],[496,0,497,0],[496,1,497,1],[496,2,497,2],[496,3,497,3],[492,4,493,4],[492,5,493,5],[492,6,493,6],[494,0,495,0],[494,1,495,1],[494,2,495,2],[494,3,495,3],[494,4,495,4],[494,5,495,5],[494,6,495,6],[492,0,493,0],[492,1,493,1],[492,2,493,2],[492,3,493,3],[488,4,489,4],[488,5,489,5],[488,6,489,6],[490,0,491,0],[490,1,491,1],[490,2,491,2],[490,3,491,3],[490,4,491,4],[490,5,491,5],[490,6,491,6],[488,0,489,0],[488,1,489,1],[488,2,489,2],[488,3,489,3],[484,4,485,4],[484,5,485,5],[484,6,485,6],[486,0,487,0],[486,1,487,1],[486,2,487,2],[486,3,487,3],[486,4,487,4],[486,5,487,5],[486,6,487,6],[484,0,485,0],[484,1,485,1],[484,2,485,2],[484,3,485,3],[480,5,481,5],[480,6,481,6],[482,0,483,0],[482,1,483,1],[482,2,483,2],[482,3,483,3],[482,4,483,4],[482,5,483,5],[482,6,483,6],[480,0,481,0],[480,2,481,2],[480,3,481,3],[480,4,481,4],[476,4,477,4],[476,5,477,5],[476,6,477,6],[478,0,479,0],[478,1,479,1],[478,2,479,2],[478,3,479,3],[478,4,479,4],[478,5,479,5],[478,6,479,6],[476,0,477,0],[476,1,477,1],[476,2,477,2],[476,3,477,3],[472,4,473,4],[472,1,473,1],[472,2,473,2],[472,3,473,3],[472,5,473,5],[472,6,473,6],[474,0,475,0],[474,1,475,1],[474,2,475,2],[474,3,475,3],[474,4,475,4],[474,5,475,5],[474,6,475,6],[472,0,473,0],[468,4,469,4],[468,5,469,5],[468,6,469,6],[470,0,471,0],[470,1,471,1],[470,2,471,2],[470,3,471,3],[470,4,471,4],[470,5,471,5],[470,6,471,6],[468,0,469,0],[468,1,469,1],[468,2,469,2],[468,3,469,3],[464,4,465,4],[464,5,465,5],[464,6,465,6],[466,0,467,0],[466,1,467,1],[466,2,467,2],[466,3,467,3],[466,4,467,4],[466,5,467,5],[466,6,467,6],[464,0,465,0],[464,1,465,1],[464,2,465,2],[464,3,465,3],[460,0,460,23],[461,0,461,23],[462,0,463,0],[462,1,463,1],[462,2,463,2],[462,3,463,3],[462,4,462,5],[462,6,463,6],[462,7,463,7],[462,8,462,19],[456,5,457,5],[458,0,459,0],[458,2,459,2],[458,3,459,3],[458,4,459,4],[458,5,459,5],[456,0,457,0],[456,2,457,2],[456,3,457,3],[456,4,457,4],[452,5,453,5],[452,6,453,6],[454,0,455,0],[454,2,455,2],[454,3,455,3],[454,4,455,4]],"merged_total":2460,"flags":["formulas_cached_only","merged_cut"]}
[]
["ГОДОВОЙ ПЛАН РЕМОНТА ОБОРУДОВАНИЯ Район А"]
["по цеху  ОГЭ на 2004  год"]
["№ ","Инвентарный №","Наименование АГРЕГАТА","Категория сложности ремонта ","Последний ремонт",null,"Год установки","План год и его выполнение","Виды ремонтных операций "]
[{"$nulls":4},"Вид ремонта","дата",null,null,1,2,3,4,5,6,7,8,9,10,11,12,null,"О","Ср","Тр"]
[1,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ",{"$nulls":9},"О","О","О"]
[{"$nulls":7},"Выполнение"]
[2,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ",{"$nulls":9},"О","О","О"]
[{"$nulls":7},"Выполнение"]
[3,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ",{"$nulls":9},"О","О","О"]
[{"$nulls":7},"Выполнение"]
[4,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ",{"$nulls":9},"О","О","О"]
[{"$nulls":7},"Выполнение"]
[5,null,"Насос сетевой №1",null,null,null,2004,"План ",{"$nulls":9},"О","О","О"]
[{"$nulls":7},"Выполнение"]
[6,null,"Насос сетевой №2",null,null,null,2004,"План ",{"$nulls":9},"О","О","О"]
[{"$nulls":7},"Выполнение"]
[7,null,"Насос сетевой №3",null,null,null,2004,"План ",{"$nulls":9},"О","О","О"]
[{"$nulls":7},"Выполнение"]
[8,null,"Насос питательный №1",null,null,null,2004,"План ",{"$nulls":9},"О","О","О"]
[{"$nulls":7},"Выполнение"]
[9,null,"Насос питательный №2",null,null,null,2004,"План ",{"$nulls":9},"О","О","О"]
[{"$nulls":7},"Выполнение"]
[10,null,"Насос ГВС №1",null,null,null,2004,"План ",{"$nulls":9},"О","О","О"]
[{"$nulls":7},"Выполнение"]
[11,null,"Насос ГВС №2",null,null,null,2004,"План ",{"$nulls":9},"О","О","О"]
[{"$nulls":7},"Выполнение"]
[12,null,"ГРП-С 100 Н",null,null,null,2004,"План ","О","О","О","О","О","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[13,null,"Газопровод",null,null,null,2004,"План ","О","О","О","О","О","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[14,null,"Система отопления",null,null,null,2004,"План ","О","О","О","Тр","О","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[15,null,"Система ГВС",null,null,null,2004,"План ","О","О","О","О","Тр","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[16,null,"Система ХВС",null,null,null,2004,"План ","О","О","О","О","О","О","Тр","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[17,null,"Сантехника",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[]
["ГОДОВОЙ ПЛАН РЕМОНТА ОБОРУДОВАНИЯ  Район \"В\""]
["по цеху  ОГЭ на 2004  год"]
["№ ","Инвентарный №","Наименование АГРЕГАТА","Категория сложности ремонта ","Последний ремонт",null,"Год установки","План год и его выполнение","Виды ремонтных операций "]
[{"$nulls":4},"Вид ремонта","дата",null,null,1,2,3,4,5,6,7,8,9,10,11,12,null,"О","Ср","Тр"]
[1,null,"Газопровод",{"$nulls":4},"План ","О","О","О","О","О","О","О","О","Тр","О","О","О"]
[{"$nulls":7},"Выполнение"]
[2,null,"Система отопления",{"$nulls":4},"План ","О","О","О","О","О","О","О","О","О","О","Тр","О"]
[{"$nulls":7},"Выполнение"]
[3,null,"Система ХВС",{"$nulls":4},"План ","О","О","О","Тр","О","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[4,null,"Сантехника",{"$nulls":4},"План ","О","О","О","О","Тр","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[5,null,"ОГВ 200",null,null,null,1997,"План ","О","О","О","О","О","О","О","О","О","Тр","О","О"]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[]
[]
["ГОДОВОЙ ПЛАН РЕМОНТА ОБОРУДОВАНИЯ Район \"С\""]
["по цеху  ОГЭ на 2004  год"]
["№ ","Инвентарный №","Наименование АГРЕГАТА","Категория сложности ремонта ","Последний ремонт",null,"Год установки","План год и его выполнение","Виды ремонтных операций "]
[{"$nulls":4},"Вид ремонта","дата",null,null,1,2,3,4,5,6,7,8,9,10,11,12,null,"О","Ср","Тр"]
[1,null,"Газопровод",{"$nulls":4},"План ","О","О","О","О","О","О","О","О","Тр","О","О","О"]
[{"$nulls":7},"Выполнение"]
[2,null,"Система отопления",{"$nulls":4},"План ","О","О","О","О","О","О","О","О","О","Тр","О","О"]
[{"$nulls":7},"Выполнение"]
[3,null,"Система ГВС",{"$nulls":4},"План ","О","О","Тр","О","О","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[4,null,"Система ХВС",{"$nulls":4},"План ","О","О","О","О","О","О","Тр","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[5,null,"Сантехника",{"$nulls":4},"План ","О","О","О","О","Тр","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
["ГОДОВОЙ ПЛАН РЕМОНТА ОБОРУДОВАНИЯ Район А"]
["по цеху  ОГЭ на 2005  год"]
["№ ","Инвентарный №","Наименование АГРЕГАТА","Категория сложности ремонта ","Последний ремонт",null,"Год установки","План год и его выполнение","Виды ремонтных операций "]
[{"$nulls":4},"Вид ремонта","дата",null,null,1,2,3,4,5,6,7,8,9,10,11,12,null,"О","Ср","Тр"]
[1,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ","О","О","О","Тр","О","О","О","О","О","Тр","О","О"]
[{"$nulls":7},"Выполнение"]
[2,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ","О","О","О","Тр","О","О","О","О","О","Тр","О","О"]
[{"$nulls":7},"Выполнение"]
[3,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ","О","О","О","Тр","О","О","О","О","О","Тр","О","О"]
[{"$nulls":7},"Выполнение"]
[4,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ","О","О","О","Тр","О","О","О","О","О","Тр","О","О"]
[{"$nulls":7},"Выполнение"]
[5,null,"Насос сетевой №1",null,null,null,2004,"План ","О","О","О","О","Тр","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[6,null,"Насос сетевой №2",null,null,null,2004,"План ","О","О","О","О","Тр","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[7,null,"Насос сетевой №3",null,null,null,2004,"План ","О","О","О","О","Тр","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[8,null,"Насос питательный №1",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[9,null,"Насос питательный №2",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[10,null,"Насос ГВС №1",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[11,null,"Насос ГВС №2",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[12,null,"ГРП-С 100 Н",null,null,null,2004,"План ","О","О","О","О","О","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[13,null,"Газопровод",null,null,null,2004,"План ","О","О","О","О","О","О","Тр","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[14,null,"Система отопления",null,null,null,2004,"План ","О","О","О","О","Тр","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[15,null,"Система ГВС",null,null,null,2004,"План ","О","О","О","О","Тр","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[16,null,"Система ХВС",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[17,null,"Сантехника",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[]
["ГОДОВОЙ ПЛАН РЕМОНТА ОБОРУДОВАНИЯ  Район \"В\""]
["по цеху  ОГЭ на 2005  год"]
["№ ","Инвентарный №","Наименование АГРЕГАТА","Категория сложности ремонта ","Последний ремонт",null,"Год установки","План год и его выполнение","Виды ремонтных операций "]
[{"$nulls":4},"Вид ремонта","дата",null,null,1,2,3,4,5,6,7,8,9,10,11,12,null,"О","Ср","Тр"]
[1,null,"Газопровод",{"$nulls":4},"План ","О","О","О","О","О","О","О","О","Тр","О","О","О"]
[{"$nulls":7},"Выполнение"]
[2,null,"Система отопления",{"$nulls":4},"План ","О","О","О","Тр","Тр","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[3,null,"Система ХВС",{"$nulls":4},"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[4,null,"Сантехника",{"$nulls":4},"План ","О","О","О","О","О","О","Тр","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[5,null,"ОГВ 200",{"$nulls":4},"План ","О","О","О","О","О","О","О","О","Тр","О","О","О"]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План ","О","О","О","О","О","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[]
[]
["ГОДОВОЙ ПЛАН РЕМОНТА ОБОРУДОВАНИЯ Район \"С\""]
["по цеху  ОГЭ на 2005  год"]
["№ ","Инвентарный №","Наименование АГРЕГАТА","Категория сложности ремонта ","Последний ремонт",null,"Год установки","План год и его выполнение","Виды ремонтных операций "]
[{"$nulls":4},"Вид ремонта","дата",null,null,1,2,3,4,5,6,7,8,9,10,11,12,null,"О","Ср","Тр"]
[1,null,"Газопровод",{"$nulls":4},"План ","О","О","О","О","Тр","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[2,null,"Система отопления",{"$nulls":4},"План ","О","О","О","Тр","О","О","О","О","О","Тр","О","О"]
[{"$nulls":7},"Выполнение"]
[3,null,"Система ГВС",{"$nulls":4},"План ","О","О","О","О","О","О","О","О","О","Тр","О","О"]
[{"$nulls":7},"Выполнение"]
[4,null,"Система ХВС",{"$nulls":4},"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[5,null,"Сантехника",{"$nulls":4},"План ","О","О","О","О","О","О","Тр","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
["ГОДОВОЙ ПЛАН РЕМОНТА ОБОРУДОВАНИЯ Район А"]
["по цеху  ОГЭ    на 2006  год"]
["№ ","Инвентарный №","Наименование АГРЕГАТА","Категория сложности ремонта ","Последний ремонт",null,"Год установки","План год и его выполнение","Виды ремонтных операций "]
[{"$nulls":4},"Вид ремонта","дата",null,null,1,2,3,4,5,6,7,8,9,10,11,12,null,"О","Ср","Тр"]
[1,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ","О","О","О","Тр","О","О","О","О","О","Тр","О","О"]
[{"$nulls":7},"Выполнение"]
[2,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ","О","О","О","Тр","О","О","О","О","О","Тр","О","О"]
[{"$nulls":7},"Выполнение"]
[3,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ","О","О","О","Тр","О","О","О","О","О","Тр","О","О"]
[{"$nulls":7},"Выполнение"]
[4,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ","О","О","О","Тр","О","О","О","О","О","Тр","О","О"]
[{"$nulls":7},"Выполнение"]
[5,null,"Насос сетевой №1",null,null,null,2004,"План ","О","О","О","О","Тр","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[6,null,"Насос сетевой №2",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[7,null,"Насос сетевой №3",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[8,null,"Насос питательный №1",null,null,null,2004,"План ","О","О","О","О","Тр","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[9,null,"Насос питательный №2",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[10,null,"Насос ГВС №1",null,null,null,2004,"План ","О","О","О","О","Тр","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[11,null,"Насос ГВС №2",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[12,null,"ГРП-С 100 Н",null,null,null,2004,"План ","О","О","О","О","О","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[13,null,"Газопровод",null,null,null,2004,"План ","О","О","О","О","О","О","О","Тр","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[14,null,"Система отопления",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[15,null,"Система ГВС",null,null,null,2004,"План ","О","О","О","О","О","О","Тр","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[16,null,"Система ХВС",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[17,null,"Сантехника",null,null,null,2004,"План ","О","О","Тр","О","О","О","О","Тр","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[]
["ГОДОВОЙ ПЛАН РЕМОНТА ОБОРУДОВАНИЯ  Район \"В\""]
["по цеху  ОГЭ на 2006  год"]
["№ ","Инвентарный №","Наименование АГРЕГАТА","Категория сложности ремонта ","Последний ремонт",null,"Год установки","План год и его выполнение","Виды ремонтных операций "]
[{"$nulls":4},"Вид ремонта","дата",null,null,1,2,3,4,5,6,7,8,9,10,11,12,null,"О","Ср","Тр"]
[1,null,"Газопровод",{"$nulls":4},"План ","О","О","О","О","О","О","О","О","Тр","О","О","О"]
[{"$nulls":7},"Выполнение"]
[2,null,"Система отопления",{"$nulls":4},"План ","О","О","О","Тр","О","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[3,null,"Система ХВС",{"$nulls":4},"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[4,null,"Сантехника",{"$nulls":4},"План ","О","О","О","О","О","О","Тр","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[5,null,"ОГВ 200",null,null,null,1997,"План ","О","О","О","О","О","О","О","О","Тр","О","О","О"]
[{"$nulls":7},"Выполнение"]
[6,{"$nulls":6},"План ","О","О","О","О","О","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[30,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[31,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[32,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[33,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[34,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[35,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[36,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[37,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[38,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[39,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[40,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[41,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[42,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[43,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[44,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[45,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[46,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[]
[]
["ГОДОВОЙ ПЛАН РЕМОНТА ОБОРУДОВАНИЯ Район \"С\""]
["по цеху  ОГЭ на 2006  год"]
["№ ","Инвентарный №","Наименование АГРЕГАТА","Категория сложности ремонта ","Последний ремонт",null,"Год установки","План год и его выполнение","Виды ремонтных операций "]
[{"$nulls":4},"Вид ремонта","дата",null,null,1,2,3,4,5,6,7,8,9,10,11,12,null,"О","Ср","Тр"]
[1,null,"Газопровод",{"$nulls":4},"План ","О","О","О","Тр","О","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[2,null,"Система отопления",{"$nulls":4},"План ","О","О","О","О","О","О","О","О","О","Тр","О","О"]
[{"$nulls":7},"Выполнение"]
[3,null,"Система ГВС",{"$nulls":4},"План ","О","О","О","О","О","О","О","О","О","Тр","О","О"]
[{"$nulls":7},"Выполнение"]
[4,null,"Система ХВС",{"$nulls":4},"План ","О","О","О","Тр","О","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[5,null,"Сантехника",{"$nulls":4},"План ","О","О","О","Тр","О","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
["ГОДОВОЙ ПЛАН РЕМОНТА ОБОРУДОВАНИЯ Район А"]
["по цеху  ОГЭ на 2007  год"]
["№ ","Инвентарный №","Наименование АГРЕГАТА","Категория сложности ремонта ","Последний ремонт",null,"Год установки","План год и его выполнение","Виды ремонтных операций "]
[{"$nulls":4},"Вид ремонта","дата",null,null,1,2,3,4,5,6,7,8,9,10,11,12,null,"О","Ср","Тр"]
[1,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ","О","О","О","О","Ср","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[2,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ","О","О","О","О","Ср","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[3,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ","О","О","О","О","О","Ср","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[4,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ","О","О","О","О","О","Ср","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[5,null,"Насос сетевой №1",null,null,null,2004,"План ","О","О","О","О","О","О","Тр","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[6,null,"Насос сетевой №2",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[7,null,"Насос сетевой №3",null,null,null,2004,"План ","О","О","О","О","О","О","О","Тр","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[8,null,"Насос питательный №1",null,null,null,2004,"План ","О","О","О","О","О","О","О","Тр","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[9,null,"Насос питательный №2",null,null,null,2004,"План ","О","О","О","О","О","О","О","О","Тр","О","О","О"]
[{"$nulls":7},"Выполнение"]
[10,null,"Насос ГВС №1",null,null,null,2004,"План ","О","О","О","О","О","О","Тр","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[11,null,"Насос ГВС №2",null,null,null,2004,"План ","О","О","О","О","О","О","Тр","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[12,null,"ГРП-С 100 Н",null,null,null,2004,"План ","О","О","О","О","О","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[13,null,"Газопровод",null,null,null,2004,"План ","О","О","О","О","О","О","О","Тр","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[14,null,"Система отопления",null,null,null,2004,"План ","О","О","О","О","О","О","Ср","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[15,null,"Система ГВС",null,null,null,2004,"План ","О","О","О","О","О","О","Тр","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[16,null,"Система ХВС",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[17,null,"Сантехника",null,null,null,2004,"План ","О","О","Тр","О","О","О","О","Тр","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[]
["ГОДОВОЙ ПЛАН РЕМОНТА ОБОРУДОВАНИЯ  Район \"В\""]
["по цеху  ОГЭ на 2007  год"]
["№ ","Инвентарный №","Наименование АГРЕГАТА","Категория сложности ремонта ","Последний ремонт",null,"Год установки","План год и его выполнение","Виды ремонтных операций "]
[{"$nulls":4},"Вид ремонта","дата",null,null,1,2,3,4,5,6,7,8,9,10,11,12,null,"О","Ср","Тр"]
[1,null,"Газопровод",{"$nulls":4},"План ","О","О","О","О","О","О","О","О","Тр","О","О","О"]
[{"$nulls":7},"Выполнение"]
[2,null,"Система отопления",{"$nulls":4},"План ","О","О","О","О","О","О","О","О","О","Тр","О","О"]
[{"$nulls":7},"Выполнение"]
[3,null,"Система ХВС",{"$nulls":4},"План ","О","О","О","О","О","О","О","О","О","Тр","О","О"]
[{"$nulls":7},"Выполнение"]
[4,null,"Сантехника",{"$nulls":4},"План ","О","О","О","О","О","О","Тр","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[5,null,"ОГВ 200",null,null,null,1997,"План ","О","О","О","О","О","О","О","О","Тр","О","О","О"]
[{"$nulls":7},"Выполнение"]
[6,{"$nulls":6},"План ","О","О","О","О","О","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[30,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[31,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[32,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[33,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[34,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[35,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[36,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[37,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[38,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[39,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[40,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[41,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[42,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[43,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[44,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[45,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[46,{"$nulls":6},"План "]
[{"$nulls":7},"Выполнение"]
[]
[]
["ГОДОВОЙ ПЛАН РЕМОНТА ОБОРУДОВАНИЯ Район \"С\""]
["по цеху  ОГЭ на 2007  год"]
["№ ","Инвентарный №","Наименование АГРЕГАТА","Категория сложности ремонта ","Последний ремонт",null,"Год установки","План год и его выполнение","Виды ремонтных операций "]
[{"$nulls":4},"Вид ремонта","дата",null,null,1,2,3,4,5,6,7,8,9,10,11,12,null,"О","Ср","Тр"]
[1,null,"Газопровод",{"$nulls":4},"План ","О","О","О","О","Тр","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[2,null,"Система отопления",{"$nulls":4},"План ","О","О","О","Тр","О","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[3,null,"Система ГВС",{"$nulls":4},"План ","О","О","О","О","Тр","О","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[4,null,"Система ХВС",{"$nulls":4},"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[5,null,"Сантехника",{"$nulls":4},"План ","О","О","О","О","О","Тр","О","О","О","О","О","О"]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
["ГОДОВОЙ ПЛАН РЕМОНТА ОБОРУДОВАНИЯ \"ДЕПО\""]
["по цеху  ОГЭ на 2008  год"]
["№ ","Инвентарный №","Наименование АГРЕГАТА","Категория сложности ремонта ","Последний ремонт",null,"Год установки","План год и его выполнение","Виды ремонтных операций "]
[{"$nulls":4},"Вид ремонта","дата",null,null,1,2,3,4,5,6,7,8,9,10,11,12,null,"О","Ср","Тр"]
[1,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[2,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[3,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[4,null,"Котел водогрейный КВа1,6",null,null,null,2004,"План ","О","О","О","О","О","Тр","О","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[5,null,"Насос сетевой №1",null,null,null,2004,"План ","О","О","О","О","Тр","О","О","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[6,null,"Насос сетевой №2",null,null,null,2004,"План ","О","О","О","О","Тр","О","О","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[7,null,"Насос сетевой №3",null,null,null,2004,"План ","О","О","О","О","Тр","О","О","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[8,null,"Насос питательный №1",null,null,null,2004,"План ","О","О","О","О","О","О","О","Тр","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[9,null,"Насос питательный №2",null,null,null,2004,"План ","О","О","О","О","О","О","О","Тр","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[10,null,"Насос ГВС №1",null,null,null,2004,"План ","О","О","О","О","О","О","Тр","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[11,null,"Насос ГВС №2",null,null,null,2004,"План ","О","О","О","О","О","О","Тр","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[12,null,"Газопровод",null,null,null,2004,"План ","О","О","О","О","О","О","О","Тр","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[13,null,"Система отопления",null,null,null,2004,"План ","О","О","О","Тр","О","О","О","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[14,null,"Система ГВС",null,null,null,2004,"План ","О","О","О","О","О","О","Тр","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[15,null,"Система ХВС",null,null,null,2004,"План ","О","О","О","О","Тр","О","О","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[16,null,"Сантехника",null,null,null,2004,"План ","О","О","Тр","О","О","О","О","Тр","О","О","О","О",null,10,null,2]
[{"$nulls":7},"Выполнение"]
[17,null,"Котельная лаковарки",null,null,null,2005,"План ","О","О","О","О","О","О","О","О","Тр","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[null,null,"Котельная теп. Хоз",null,null,null,2007,"План ","О","О","О","Тр","О","О","О","Тр","О","О","О","О",null,10,null,2]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[]
["ГОДОВОЙ ПЛАН РЕМОНТА ОБОРУДОВАНИЯ  \"Территория I \""]
["по цеху  ОГЭ на 2008  год"]
["№ ","Инвентарный №","Наименование АГРЕГАТА","Категория сложности ремонта ","Последний ремонт",null,"Год установки","План год и его выполнение","Виды ремонтных операций "]
[{"$nulls":4},"Вид ремонта","дата",null,null,1,2,3,4,5,6,7,8,9,10,11,12,null,"О","Ср","Тр"]
[1,null,"Газопровод",{"$nulls":4},"План ","О","О","О","О","О","О","О","О","Тр","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[2,null,"Система отопления",{"$nulls":4},"План ","О","О","О","О","О","Тр","О","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[3,null,"Система ХВС",{"$nulls":4},"План ","О","О","О","О","О","О","О","О","О","Тр","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[4,null,"Сантехника",{"$nulls":4},"План ","О","О","О","Тр","О","О","О","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[5,null,"ОГВ 200",null,null,null,1997,"План ","О","О","О","О","О","О","О","О","Тр","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[]
[]
["ГОДОВОЙ ПЛАН РЕМОНТА ОБОРУДОВАНИЯ \"Территория II\""]
["по цеху  ОГЭ на 2008  год"]
["№ ","Инвентарный №","Наименование АГРЕГАТА","Категория сложности ремонта ","Последний ремонт",null,"Год установки","План год и его выполнение","Виды ремонтных операций "]
[{"$nulls":4},"Вид ремонта","дата",null,null,1,2,3,4,5,6,7,8,9,10,11,12,null,"О","Ср","Тр"]
[1,null,"Газопровод",{"$nulls":4},"План ","О","О","О","О","Тр","О","О","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[2,null,"Система отопления",{"$nulls":4},"План ","О","О","О","Тр","О","О","О","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[3,null,"Система ГВС",{"$nulls":4},"План ","О","О","О","О","Тр","О","О","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[4,null,"Система ХВС",{"$nulls":4},"План ","О","О","О","О","О","Тр","О","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[5,null,"Сантехника",{"$nulls":4},"План ","О","О","О","О","О","Тр","О","О","О","О","О","О",null,11,null,1]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]
[{"$nulls":7},"План "]
[{"$nulls":7},"Выполнение"]