{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Лист1"],"not_rendered":{"charts":0,"images":1,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":27,"n_cols":12,"rows_kept":27,"cut":false,"hidden":false,"merged":[]}
[]
["Kрад"]
[]
[null,11.6,{"$nulls":4},{"$f":"(B4*F18)/D6","v":2.3125000163196794},null,{"$f":"(B4*L20)/D6","v":2.6886007981265974}]
["Vот",110895.1]
["ГСОП",3445.4,null,{"$f":"B5*B6","v":382077977.54000002}]
[]
[]
["lвер J","МДж/год*м2","Ajl,м2","1й этаж",{"$nulls":4},"Qрад1","Qрад2"]
["СЗ",576,4206.8599999999997,194.45,null,{"$f":"B10*C10*A23*A27","v":13860425.779199999},{"$nulls":4},{"$f":"B10*A22*A26*D10","v":2352067.1999999997},{"$f":"B10*C10*A23*A27","v":13860425.779199999}]
["СВ",576,2080.5700000000002,94.27,null,{"$f":"B11*C11*A23*A27","v":6854895.590400001},{"$nulls":4},{"$f":"B11*A22*A26*D11","v":1140289.92},{"$f":"B11*C11*A23*A27","v":6854895.590400001}]
["В",804,975.79,58.23,null,{"$f":"B12*C12*A23*A27","v":4487541.1151999999},{"$nulls":4},{"$f":"B12*A22*A26*D12","v":983155.32},{"$f":"B12*C12*A23*A27","v":4487541.1151999999}]
["ЮВ",1160,4537.22,194.44,null,{"$f":"B13*C13*A23*A27","v":30105362.144000001},{"$nulls":4},{"$f":"B13*A22*A26*D13","v":4736558.4000000004},{"$f":"B13*C13*A23*A27","v":30105362.144000001}]
["ЮЗ",1160,2071.5700000000002,89.88,null,{"$f":"B14*C14*A23*A27","v":13745281.264000002},{"$nulls":4},{"$f":"B14*A22*A26*D14","v":2189476.7999999998},{"$f":"B14*C14*A23*A27","v":13745281.264000002}]
["З",804,1490.86,58.35,null,{"$f":"B15*C15*A23*A27","v":6856286.2368000001},{"$nulls":4},{"$f":"B15*A22*A26*D15","v":985181.4},{"$f":"B15*C15*A23*A27","v":6856286.2368000001}]
["С",524,24.24,null,null,{"$f":"B16*C16*A23*A27","v":72654.06719999999},{"$nulls":5},{"$f":"B16*C16*A23*A27","v":72654.06719999999}]
["Ю",1349,24.12,null,null,{"$f":"B17*C17*A23*A27","v":186116.67360000001},{"$nulls":5},{"$f":"B17*C17*A23*A27","v":186116.67360000001}]
[{"$nulls":5},{"$f":"SUM(F10:F17)","v":76168562.870400012},{"$nulls":4},{"$f":"SUM(K10:K15)","v":12386729.040000001},{"$f":"SUM(L10:L17)","v":76168562.870400012}]
["lгор","МДж/год*м2",1187]
[{"$nulls":10},{"$f":"K18+L18","v":88555291.910400018},{"$f":"K20+C19","v":88556478.910400018}]
["gjl"]
[35,"1 этаж"]
[22,"2-24 этажи"]
[]
[]
[0.6,"1 этаж"]
[0.26,"2,24 этажи"]