{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Лист1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":50,"n_cols":10,"rows_kept":50,"cut":false,"hidden":false,"merged":[]}
[]
[null,"Q","Подача","Обратка","∆","Тп","То","∆","Время"]
["пр",5102.8530000000001,495361.8,478439.4,16882.599999999999,66.52,58.52,9.2799999999999994,68658]
[]
[17,0.25,24.9,23.9,{"$f":"C5-D5","v":1},64.42,54.34,{"$f":"F5-G5","v":10.079999999999998},24,{"$f":"C5*H5/1000","v":0.25099199999999994}]
[18,0.26,24.1,23,{"$f":"C6-D6","v":1.1000000000000014},64.44,53.62,{"$f":"F6-G6","v":10.82},24,{"$f":"C6*H6/1000","v":0.26076199999999999}]
[19,0.26,23,22.1,0.89999999999999858,67.58,56,11.579999999999998,24,0.26633999999999997]
[20,0.25,22.7,21.7,1,68.069999999999993,56.83,11.239999999999995,24,0.25514799999999987]
[21,0.25,22.1,21.1,1,65.58,54,11.579999999999998,24,0.25591799999999998]
[22,0.32,21.2,20.399999999999999,0.80000000000000071,64.77,46.19,18.579999999999998,24,0.39389599999999997]
[23,1.1399999999999999,96.5,98.6,-2.0999999999999943,62.63,50.5,12.130000000000003,24,1.1705450000000004]
[24,2.11,174.8,183,-8.1999999999999886,64.39,52.13,12.259999999999998,24,2.1430479999999998]
[25,2.17,176.5,184.1,-7.5999999999999943,65.56,53.06,12.5,24,2.2062499999999998]
[26,2.15,174.1,181.2,-7.0999999999999943,66.84,54.3,12.540000000000006,24,2.1832140000000009]
[27,1.83,160.80000000000001,167.9,-7.0999999999999943,62.8,51.26,11.54,24,1.8556320000000002]
[28,1.92,159.5,167.3,-7.8000000000000114,64.97,52.74,12.229999999999997,24,1.9506849999999996]
[29,1.96,161.19999999999999,170.5,-9.3000000000000114,67.040000000000006,54.68,12.360000000000007,24,1.9924320000000009]
[30,2.0099999999999998,198.7,207.1,-8.4000000000000057,66.17,55.91,10.260000000000005,24,2.0386620000000009]
[1,2.12,220.3,228.1,-7.7999999999999829,67.989999999999995,58.19,9.7999999999999972,24,2.1589399999999994]
[2,2.1,216.6,222.6,-6,67.03,57.2,9.8299999999999983,24,2.1291779999999996]
[3,2.15,212.9,219.5,-6.5999999999999943,67.31,57.06,10.25,24,2.1822249999999999]
[4,2.08,210.8,216,-5.1999999999999886,66.67,56.84,9.8299999999999983,24,2.0721639999999999]
[5,2.08,213.4,217.3,-3.9000000000000057,66.349999999999994,56.43,9.9199999999999946,24,2.1169279999999988]
[6,2.21,213.4,216.9,-3.5,66.36,55.84,10.519999999999996,24,2.2449679999999992]
[7,2.21,217.6,221.7,-4.0999999999999943,68.319999999999993,57.99,10.329999999999991,24,2.2478079999999983]
[8,1.99,223.6,229,-5.4000000000000057,65.87,56.84,9.0300000000000011,23.87,2.0191080000000001]
[9,1.97,243,248,-5,63.55,55.33,8.2199999999999989,23.88,1.9974599999999998]
[10,2.25,239,243.1,-4.0999999999999943,67.3,57.72,9.5799999999999983,24,2.2896199999999993]
[11,2.0699999999999998,236.3,239,-2.6999999999999886,64.150000000000006,55.26,8.8900000000000077,23.87,2.1007070000000017]
[12,2.36,236,238.7,-2.6999999999999886,66.38,26.23,40.149999999999991,24,9.4753999999999969]
[13,2.3199999999999998,234.5,236.3,-1.8000000000000114,67.760000000000005,57.68,10.080000000000005,24,2.363760000000001]
[14,2.33,242,243.7,-1.6999999999999886,67.92,58.11,9.8100000000000023,24,2.3740200000000002]
[15,2.35,241.2,242.4,-1.2000000000000171,68.099999999999994,58.19,9.9099999999999966,24,2.3902919999999992]
["Итого",{"$f":"SUM(B5:B33)","v":49.470000000000006},{"$f":"SUM(C5:C33)","v":4840.7},4954.1999999999989,-113.49999999999996,66.099999999999994,55.33,10.769999999999996,{"$f":"SUM(I5:I33)","v":695.62},{"$f":"SUM(J5:J33)","v":57.386101999999994}]
[]
["Нештатная ситуация формула 7.4 МКУ 99пр",null,null,null,"Qкорр=Qраб /Т раб х Т ншт"]
["Штатная работа при времени 24 часа"]
["1вариант"]
["Qраб=","49,47-1,99-1,97-2,087=",null,{"$f":"B34-B26-B27-B29","v":43.440000000000005}]
["Т раб=","695,61-23,87-23,88-23,87=",null,{"$f":"I34-I26-I27-I29","v":624}]
["Т ншт=","23,87+23,87+23,87=",null,{"$f":"I26+I27+I29","v":71.62}]
["Qкорр=","43,44/624*71,61=",null,{"$f":"D39/D40*D41","v":4.9858538461538471}]
["Итого","43,44+4,99=",null,{"$f":"D39+D42","v":48.425853846153849}]
["2 вариант"]
["Qраб=",{"$f":"B34","v":49.470000000000006}]
["Т ншт=","24х3-23,87-23,88-23,87=",null,{"$f":"24*3-I26-I27-I29","v":0.37999999999999545}]
["Т раб=",{"$f":"I34","v":695.62}]
["Qкорр=","49,47/695,62х0,38=",null,{"$f":"B34/I34*D46","v":2.7024237370978088E-2}]
[]
["Итого","49,47+0,027=",null,{"$f":"B34+D48","v":49.497024237370987}]