{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["У стен"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"У стен","index":0,"n_rows":10,"n_cols":9,"rows_kept":10,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["kA","kAt",null,"А, м2","k, Вт/м2.0С","t, 0С","l, м","Н, м"]
[183.75000000000003,3307.5000000000005,null,26.46,6.9444444444444455,18,0.9,2.1,"дверь"]
[812.5000000000001,14625.000000000002,null,195,4.166666666666667,18,65,3,"внутренняя (админ)"]
[1250,25000,null,300,4.166666666666667,20,100,3,"внутренняя (жилые)"]
[461.5384615384615,-12923.076923076922,null,1200,0.3846153846153846,-28,null,null,"покрытие"]
[84.50704225352113,0,null,1200,0.07042253521126761,0,null,null,"пол 4 зона"]
[]
[30009.423076923078,"SkAt"]
[2792.2955037919824,"SkA"]
[10.747223220525836,"tx"]