{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Лист1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Лист1","index":0,"n_rows":94,"n_cols":7,"rows_kept":94,"cut":false,"hidden":false,"merged":[[2,0,2,1],[33,0,33,1],[64,0,64,1]],"flags":["formulas_cached_only"]}
[]
[]
["Участок магистрали между отпительными приборами:",null,"нагрузка","Диаметр подающей линии","длинна","Диаметр обратной линии","длинна"]
["Гребенка"]
[1,2,2,25,3,15,3]
[2,3,4,25,3,15,3]
[3,4,6,25,3,20,3]
[4,5,8,25,3,20,3]
[5,6,10,20,3,20,3]
[6,7,12,20,3,20,3]
[7,8,14,20,3,25,3]
[8,9,16,20,3,25,3]
[9,10,18,15,3,25,3]
[10,"стояк",20,15,0,25,30]
{"$rows_empty":12}
[{"$nulls":5},"цена метра (медь)"]
[null,null,null,25,51,609,31059]
[null,null,null,20,18,439,7902]
[null,null,null,15,9,355,3195]
[{"$nulls":6},42156]
[]
[]
["Участок магистрали между отпительными приборами:",null,"нагрузка","Диаметр подающей линии","длинна","Диаметр обратной линии","длинна"]
["Гребенка"]
[1,2,2,20,3,15,3]
[2,3,4,20,3,15,3]
[3,4,6,20,3,20,3]
[4,5,8,15,3,20,3]
[5,"стояк",10,15,3,20,15]
[]
[]
["Гребенка"]
[1,2,2,20,18,15,3]
[2,3,4,20,3,15,3]
[3,4,6,20,3,20,3]
[4,5,8,15,3,20,3]
[5,"стояк",10,15,3,20,30]
{"$rows_empty":10}
[{"$nulls":5},"цена метра (медь)"]
[{"$nulls":5},609,0]
[null,null,null,20,90,439,39510]
[null,null,null,15,24,355,8520]
[{"$nulls":6},48030]
[]
["Участок магистрали между отпительными приборами:",null,"нагрузка","Диаметр подающей линии","длинна","Диаметр обратной линии","длинна"]
["Гребенка"]
[1,2,2,20,3,15,3]
[2,3,4,20,3,15,3]
[3,4,6,20,3,20,3]
[4,5,8,15,3,20,3]
[5,"стояк",10,15,3,20,3]
[]
[]
["Гребенка"]
[1,2,2,20,18,15,3]
[2,3,4,20,3,15,3]
[3,4,6,20,3,20,3]
[4,5,8,15,3,20,3]
[5,"стояк",10,15,3,20,18]
{"$rows_empty":10}
[{"$nulls":5},"цена метра (медь)"]
[{"$nulls":5},609,0]
[null,null,null,20,66,439,28974]
[null,null,null,15,24,355,8520]
[{"$nulls":6},37494]